## Service report
SERVICE REPORT |  |  |  | No. ________
[Your company name] · [Phone] · [Email] |  |  |  | Work order ________
CUSTOMER |  |  | DATE
JOB SITE ADDRESS |  |  | TECHNICIAN
EQUIPMENT (TYPE, MAKE, MODEL) |  |  | SERIAL OR ASSET NO.
ARRIVAL | DEPARTURE | HOURS | TYPE (check one)
☐ Corrective ☐ Preventive ☐ Installation
PROBLEM REPORTED BY THE CUSTOMER
WORK PERFORMED
MATERIALS USED
Part no. |  | Description |  |  | Quantity
REFRIGERANT (TYPE) |  |  | KG ADDED / RECOVERED
STATUS (check one)
☐ Resolved ☐ Waiting for part ☐ Waiting for quote ☐ Other: ____________
REASON IF PENDING
TECHNICIAN SIGNATURE |  |  | CUSTOMER SIGN-OFF (name and signature)

## Example
SERVICE REPORT |  |  |  | No. RPT-2026-0418
Clima Norte Instalaciones (sample company) |  |  |  | Work order WO-2026-1172
CUSTOMER |  |  | DATE
Av. del Pino 14 Homeowners Association |  |  | 09/29/2026
JOB SITE ADDRESS |  |  | TECHNICIAN
Av. del Pino, 14 · rooftop |  |  | Technician 3 · van 12
EQUIPMENT (TYPE, MAKE, MODEL) |  |  | SERIAL OR ASSET NO.
Air-cooled chiller |  |  | Rating plate: see photo 1
ARRIVAL | DEPARTURE | HOURS | TYPE (check one)
9:10 | 10:40 | 1.5 | ☒ Corrective ☐ Preventive ☐ Installation
PROBLEM REPORTED BY THE CUSTOMER
Not cooling. High-pressure alarm since last night.
WORK PERFORMED
Cleaned the condenser with coil cleaner. Reset the unit. Operating pressures checked while running: OK. Left running.
MATERIALS USED
Part no. |  | Description |  |  | Quantity
LB-5 |  | Coil cleaner, 5 L |  |  | 1
REFRIGERANT (TYPE) |  |  | KG ADDED / RECOVERED
— |  |  | 0 / 0
STATUS (check one)
☒ Resolved ☐ Waiting for part ☐ Waiting for quote ☐ Other
REASON IF PENDING
—
TECHNICIAN SIGNATURE |  |  | CUSTOMER SIGN-OFF (name and signature)
HOA president